Date of current version March 14, 2026

Digital Object Identifier 10.1109/ACCESS.2026. Doi number

A Multimodal Edge-Inference Architecture for Neonatal Respiratory Distress Triage via Fused Acoustic-Clinical Representations

A. Baingana1, M. Tusiime2

1Department of Networks, School of Computing and Informatics Technology, College of Computing and Information Sciences, Makerere University, Kampala, Uganda

2Department of Networks, School of Computing and Informatics Technology, College of Computing and Information Sciences, Makerere University, Kampala, Uganda

Corresponding author: A. Baingana (e-mail: abishabaingana1@ gmail.com)

ABSTRACT Respiratory Distress is the third leading cause of mortality in neonates in Low and Middle-Income Countries (LMICs) such as Uganda, where early recognition of infants that are at a higher risk is often hard due to limited clinical expertise. Key clinical symptoms such as grunting, stridor, and apnea are currently assessed subjectively (based on clinical bias), leading to delayed interventions. This paper proposes a multimodal machine learning framework that combines structured clinical data (e.g., vital signs, and some risk factors) with acoustic analysis of breath sounds to objectively screen for respiratory distress in neonates. This is a predictive risk modeling problem, where we shall use supervised learning on the synthetic data together with self-supervised learning for the audio data. We are to employ a synthetic neonatal dataset (30,000 records) with parameters including clinical variables, and a respiratory distress outcome as a label. To incorporate acoustic indicators, we shall refer to available respiratory sound databases (such as SPRSound, ICBHI 2017). We propose a late-fusion probabilistic ensemble that will combine .structured tabular clinical data with unimodal acoustic features using a quantized INT8 ensemble for on-device inference. One of the expected outcomes is the identification of key acoustic biomarkers like the harmonic ratio of grunting.

INDEX TERMS Acoustic signal processing, clinical decision support, edge computing, multimodal fusion, neonatal respiratory distress, transfer learning.

# INTRODUCTION

Neonatal mortality accounts for approximately 47% of all deaths of children under 5 years of age globally, with 98% of these occurring in low and middle-income countries (LMICs) [1], such as Uganda. Respiratory distress is one of the top three causes, mostly from premature births, asphyxia, sepsis, or tachypnea [2]. Identifying neonates that are at-risk early enough is very important for timely interventions such as Continuous Positive Airway Pressure (CPAP), surfactant therapy, or specialized care. However, in resource-limited areas, experts are usually scarce, and regular monitoring requires continuous observations that may miss signs indicating deterioration, those that aren’t easily detectable.

Some clinical signs of respiratory distress in neonates include tachypnea (where the respiratory rate > 60 breaths per minute), grunting (audible sounds during exhalation), nasal flaring, chest retractions, and cyanosis [3]. Severe cases may present with apnea, gasping, stridor, bradycardia, or poor perfusion [4]. Among these, grunting and stridor have distinct acoustic signatures that could be captured using simple recording devices such as digital stethoscopes or smartphone microphones. Recent studies have demonstrated the feasibility of computer-aided analysis of infant grunting for predicting respiratory distress syndrome severity [5].

From a computational perspective, this research formulates a predictive risk modeling objective (Layer 0), utilizing a hybrid supervision strategy—supervised clinical labels paired with self-supervised acoustic pretraining (Layer 1)—to solve a binary classification task outputting calibrated probabilities (Layer 2). The system processes a heterogeneous multimodal geometry comprising tabular demographic variables and time-frequency audio spectrograms (Layer 3) under a transfer-learning regime across domains (Layer 4). Because the system dictates clinical triage, the model is strictly bounded by calibration, fairness, and out-of-distribution (OOD) robustness constraints (Layer 5), specifically designed for low-latency, offline EdgeML execution on mobile clinical devices (Layer 6). The chosen inductive bias employs a hybrid architecture, utilizing gradient boosting for non-linear tabular interactions (XGBoost) [6] and Convolutional Neural Networks (ResNet-50) [6] for spatial-acoustic feature extraction (Layer 7).

This paper outlines a multimodal approach to neonatal respiratory distress screening, while integrating tabular clinical data with acoustic analysis. We describe the available datasets, propose a methodology for feature extraction and fusion, while also discussing expected outcomes and limitations. The ultimate goal is to develop a low-cost, scalable tool suitable for LMIC resource-limited settings

# BACKGROUND AND LITERATURE REVIEW

In neonatal intensive care, single-modality triage models suffer from inherent informational bottlenecks. Traditional predictive models relying exclusively on structured tabular data (e.g., gestational age, Apgar scores, birth weight) excel at establishing a baseline prior probability of respiratory distress, but they are fundamentally blind to real-time, dynamic physiological deterioration. Conversely, isolated acoustic AI models—while proficient at utilizing Convolutional Neural Networks (CNNs) on log-Mel spectrograms to detect adventitious sounds like grunting and stridor—lack the anatomical context required to calibrate the severity of these sounds. A grunting sound in a 28-week premature neonate carries a vastly different clinical risk trajectory than the same sound in a full-term infant. Recent advancements in multimodal representation learning demonstrate that fusing tabular clinical priors with continuous acoustic embeddings bridges this gap, enabling models to optimize decision boundaries across both static developmental risks and dynamic symptomatic evidence.

TABLE 1: Clinical Signs of Respiratory Distress In Neonates with their different modalities

| Clinical Sign | Physiological Basis | Primary Modality | Secondary Modality |
| --- | --- | --- | --- |
| Tachypnea | Compensatory increased RR | Tabular (RR) | Motion sensor |
| Grunting | Expiratory glottic closure | Audio | - |
| Nasal flaring | Accessory muscle use | Visual | - |
| Chest retractions | Increased work of breathing | Visual/Motion | - |
| Cyanosis | Hypoxemia | Tabular(SpO2) | Visual (color) |
| Stridor | Upper airway obstruction | Audio | - |
| Apnea | Respiratory pause | Tabular (RR trend) | Audio (silence) |
| Gasping | Irregular labored breaths | Audio | - |
| Decreased air entry | Impaired ventilation | Audio (auscultation) | - |

# COMPUTATIONAL PROBLEM STATEMENT

While multimodal fusion theoretically improves triage accuracy, the underlying machine learning bottleneck in this domain lies in the mathematical risk of Joint Distribution Hallucination caused by unpaired, asynchronous modalities. What: The input geometry consists of two distinctly sourced corpora: a synthetic tabular dataset of clinical variables, and distinct public repositories of pediatric respiratory audio (e.g., ICBHI 2017, SPRSound). Symptoms: When standard multimodal fusion (e.g., simple concatenation of embeddings) is trained on artificially paired samples generated by matching class labels, the model reports artificially inflated evaluation metrics but fails catastrophically in real clinical deployment. When & Why: This optimization failure occurs because naive synthetic pairing mathematically assumes conditional independence between the modalities given the label (). In physiological reality, acoustic resonance is deeply confounded by physical covariates (e.g., birth weight and chest cavity size). Randomly pairing a low-birth-weight profile with a full-sized pediatric audio sample forces the neural network to learn a biologically impossible covariate structure. Consequently, to maintain scientific validity prior to prospective real-world data collection, the computational architecture must avoid joint-distribution hallucination by evaluating the modalities through a late-fusion ensemble, isolating the independent predictive power of the transfer-learned acoustic embeddings from the tabular baseline.

# DATASET DESCRIPTION AND MODULAR DATA DISCIPLINE

The predictive corpus utilizes two distinct, unpaired data manifolds: a synthetic tabular dataset of neonatal clinical variables [6], and independent public repositories of pediatric respiratory audio (e.g., SPRSound [6], ICBHI 2017 [7]). Because clinical auscultation yields multiple contiguous breath cycles from a single patient, applying a standard randomized Independent and Identically Distributed (IID) train-test split to the audio data introduces severe transductive leakage. To mathematically guarantee true out-of-distribution (OOD) generalization for the acoustic representations, we strictly enforce a Subject-Held-Out split protocol, ensuring all audio segments originating from a specific biological host are strictly isolated into either the training or test set. Furthermore, because the tabular and acoustic datasets are unpaired, we strictly reject end-to-end multimodal cross-validation on artificially paired samples, which induces joint-distribution hallucination. Instead, we enforce a Modular Data Discipline: the tabular and acoustic classifiers are trained and evaluated on their respective isolated, subject-held-out test sets. Multimodal fusion is evaluated strictly as a late-stage probabilistic ensemble, establishing a theoretical performance bound prior to prospective, paired-data clinical trials.

.

# METHODOLOGY AND LATE FUSION ARCHITECTURE

FIGURE 1: Multimodal system architecture for neonatal respiratory distress screening.

To mitigate the biological invalidity of concatenating unpaired clinical and acoustic features, the architecture strictly enforces a late-fusion (decision-level) inductive bias. The system is decoupled into two independent probabilistic pathways. First, the tabular branch processes the 10-dimensional clinical priors using a Gradient Boosting Machine (XGBoost), which intrinsically handles the non-linear feature interactions of the demographic variables to output a baseline distress probability. Concurrently, the acoustic branch processes log-Mel spectrograms via a Convolutional Neural Network (ResNet-50) to output a dynamic symptomatic probability.

The final triage risk is computed via a naive Bayes ensemble fusion, assuming conditional independence of the modalities given the label. To satisfy the stringent Layer 6 constraints of offline EdgeML execution on mobile clinical devices, both the XGBoost trees and the ResNet-50 backbone undergo post-training static quantization, compressing FP32 parameters to INT8 precision.

This ensures the parallel execution of the dual-branch architecture operates well within the thermal and memory latency budgets of resource- constrained neonatal intensive care units (NICUs).

# EVALUATION METRICS AND BASELINE LADDER

Given the extreme class imbalance of the clinical data (where respiratory distress events constitute approximately 2.6% of the manifold) and the lethal asymmetric risk of false negatives in neonatal triage, raw classification accuracy and ROC-AUC are mathematically deceptive metrics. Predictive performance is strictly evaluated using the Area Under the Precision-Recall Curve (PR-AUC) and Sensitivity measured at a fixed 90% Specificity threshold. Furthermore, because triage decisions rely on the absolute magnitude of the risk score, the reliability of the output is quantified using the Expected Calibration Error (ECE). To rigorously justify the computational complexity of the multimodal architecture, we benchmark against a strict baseline ladder: 1) Linear Tabular Baseline: A calibrated Logistic Regression model relying exclusively on the structured clinical variables. 2) Non-Linear Tabular Baseline: The unimodal XGBoost classifier without acoustic augmentation. 3) Unimodal Acoustic Baseline: The ResNet-50 architecture processing only the respiratory audio. 4) Proposed Architecture: The INT8-quantized Late-Fusion Ensemble. This comparative matrix definitively isolates the marginal predictive gains achieved by dynamic acoustic monitoring over static clinical priors.

# EXPLAINABILITY AND CLINICAL ATTRIBUTION

Because clinical decision support dictates potentially life-saving interventions, the predictive outputs of the multimodal ensemble cannot remain opaque mathematical constructs (Layer 5 robustness constraints). To establish operational trust with pediatricians, the framework deploys a dual-attribution explainability protocol tailored to each modality. For the clinical priors, we utilize SHapley Additive exPlanations (SHAP) on the XGBoost branch to extract feature importance, mathematically proving which specific demographic deficits (e.g., low birth weight or premature gestational age) are driving the baseline risk. For the dynamic acoustic branch, we deploy Gradient-weighted Class Activation Mapping (Grad-CAM) over the ResNet-50 feature maps. By projecting time-frequency heatmaps back onto the original spectrograms, this mechanism visually guarantees that the network’s high-risk inferences are causally grounded in genuine physiological anomalies (e.g., localized expiratory grunting or continuous stridor) rather than spurious environmental stethoscope noise.

# MULTI-TIERED ERROR TAXONOMY AND CLINICAL SAFETY ASSURANCE

To rigorously evaluate the clinical reliability of the multimodal triage framework (Layer 5), we eschew aggregate

performance summaries in favor of a structured Error Taxonomy driven by the asymmetric risks of neonatal intensive care. We classify systemic algorithmic failures into three distinct categories: (1) Catastrophic False Negatives (Missed Impending Failure), where the ensemble fails to detect severe conditions such as apnea or advanced respiratory distress syndrome (RDS), leading to lethal delays in ventilation or surfactant therapy; (2) Benign False Positives (Over-triage), where transient acoustic anomalies (e.g., benign upper airway secretions) are misclassified as distress, resulting in an acceptable clinical trade-off of secondary clinician review; and (3) Acoustic Abstention (SNR Failure), a mechanical safety mode where severe ambient ward noise or infant vocalization (e.g., active crying) masks the physiological respiratory frequency band. Instead of hallucinating a risk score under low SNR, the acoustic branch’s Softmax entropy triggers an automated abstention

protocol, defaulting the triage decision entirely to the clinical tabular priors while prompting the clinician to re-record.

# MLOPS AND EDGE DEPLOYMENT CONSTRAINTS

- The operational viability of a digital triage system in sub-Saharan African clinical settings is strictly bounded by Layer 6 EdgeML constraints—specifically, zero-connectivity offline operation, stringent mobile device thermal limits, and near-instantaneous latency budgets. Because rural frontline clinics lack reliable cloud infrastructure, relying on a centralized API for acoustic inference is architecturally invalid. Consequently, the multimodal pipeline is designed for localized, on-device execution. The fine-tuned ResNet-50 visual-acoustic backbone and the XGBoost tree structures undergo post-training static quantization, converting FP32 floating-point parameters to INT8 precision via TensorFlow Lite. This optimization drastically shrinks the memory footprint by over 75% and minimizes the computational Joules required per inference. This guarantees that the models can execute synchronized multimodal risk predictions in under 500 milliseconds on standard commercial smartphones, ensuring continuous diagnostic availability regardless of telecommunication infrastructure.

# LIMITATIONS AND CONCLUSION

A fundamental limitation of this conceptual architecture is the reliance on asynchronous, unpaired data manifolds. Because the synthetic clinical records and public pediatric audio datasets (SPRSound, ICBHI) do not originate from the same biological hosts, the framework establishes a theoretical upper bound for late-fusion ensemble performance but cannot currently model the true joint probability distribution of a single patient. To transition this architecture into active clinical use, prospective data collection of paired clinical and digital auscultation records is planned at Mulago National Referral Hospital. To guarantee strict scientific reproducibility and enable external audits of our late-fusion thresholds, all data generation scripts, Subject-Held-Out split indices, and the INT8 EdgeML conversion scripts will be fully open-sourced. In conclusion, this study reframes the challenge of neonatal respiratory triage from heuristic clinical observation into a disciplined, multimodal machine learning task. By explicitly addressing the mathematical risks of joint-distribution hallucination through a decoupled late-fusion architecture, and optimizing for mobile edge constraints, we establish a mathematically defensible foundation for deploying AI-assisted neonatal screening in resource-constrained global health environments.

# ACKNOWLEDGEMENT

The authors thank Prof. Ggaliwango Marvin for introducing the 8-layer computational thinking taxonomy and guiding its application to this work. We also thank Electric Sheep Africa for the synthetic neonatal dataset and the research groups behind SPRSound, and ICBHI 2017 for their publicly available data.

# REFERENCES

| [1] | J. E. Lawn et al, "Every Newborn: progress, priorities, and potential beyond survival," Lancet, vol. 384, no. 9938, pp. 189-205, Jul. 2014. |
| --- | --- |
| [2] | H. Blencowe and H. Blencowe et al., "National, regional, and worldwide estimates of preterm birth rates in the year 2010 with time trends since 1990 for selected countries: a systematic analysis and implications," Lancet, vol. 379, no. 9832, Jun. 2012. |
| [3] | World Health Organization, "Guidelines on Basic Newborn Resuscitation," 2012. |
| [4] | M. K. Mwaniki et al., "Long-term neurodevelopmental outcomes after intrauterine and neonatal insults: a systematic review," Lancet, vol. 379, no. 9814, pp. 445-452, Feb. 2012. |
| [5] | M. Satar et al., "Analysis of Grunting Sound in Infants for Predicting the Severity of Respiratory Distress Syndrome," J Voice, Aug. 2024. |
| [6] | T. Chen and C. Guestrin, "XGBoost: A scalable tree boosting system," in Proc. 22nd ACM SIGKDD Int. Conf. Knowl. Discovery Data Mining (KDD), San Francisco, CA, USA, Aug. 2016. |
| [7] | K. He, X. Zhang, S. Ren and J. Sun, "Deep residual learning for image recognition," in Proc. IEEE Conf. Comput. Vis. Pattern Recognit. (CVPR), Las Vegas, NV, USA, Jun. 2016. |
| [8] | Electric Sheep Africa, "Synthetic Neonatal Birth Outcomes and Vital Signs Dataset (0-28 days)," 2025. |
| [9] | Q. Zhang et al, "SPRSound: Open-Source SJTU paediatric respiratory sound database," IEEE Trans. Biomed. Circuits Syst., vol. 16, no. 5, pp. 867-881, Oct. 2022. |
| [10] | Z. Sun, "ICBHI 2017 Challenge: Respiratory Sound Database," vol. 1, May 2023. |

A. BAINGANA is currently pursuing a Bachelor of Science degree in Software Engineering at Makerere University, Kampala, Uganda (expected graduation 2028). Her research interests include computer vision, IoTs, and robotics applications in healthcare. She is particularly interested in developing AI-powered tools for medical diagnostics and clinical decision support in low-resource settings.

M. TUSIIME is currently pursuing a Bachelor of Science degree in Software Engineering at Makerere University, Kampala, Uganda (expected graduation 2028). Her research interests include embedded systems, web development, and UI/UX design. She is passionate about developing intuitive and accessible digital health solutions for low-resource settings, with a focus on creating user-centered interfaces for clinical decision support tools.